## CRT-P1
A SET OF WEIGHTS
XXXXX/D1.01/C-XXX
| XX.XX.XXXX |  | XX.XX.XXXX |  |  |  | 1 |  | 2
1 | Calibrated for | : |  | XXXXX
XXXXX
XXXXX
|  |  |  | Customer's Ref. No. | : | XXXXX
|  |  |  | Date : |  | XXXXX
|  |  |  | From | : | #REF!
2 | Description and identification
of instrument
| 5 kg to 1 g (20 Nos.) | : |  | Integral knob bronze weights.
| 500 mg to 1 mg (12 Nos.) | : |  | Stainless steel wire weights.
| Assumed Density (d) | : |  | (8400 ± 150) kg/cm3 |  | k = 2
| Assumed Density (d) | : |  | (7950 ± 150) kg/cm3 |  | k = 2
| Make | : |  | XXXX
| Model No. | : |  | XXXX
| Serial No. | : |  | XXXXX
| Box Id. No. | : |  | XXXXX
3 | Environmental conditions | : |  | Temperature | : | (23.0 ± 1.5) ºC
|  |  |  | Relative humidity | : | (50 ± 10) %
[Change in temperature during the calibration was less than ± 0.7 ºC per hour]
4 | Standard(s) used with | : |  | CSIR-NPL working standard(s) of mass with uncertainty better than one-third of the reported uncertainty of measurement.
associated uncertainty
5 | Traceability of Standard(s) | : |  | The working standard(s) used for calibration is(are) traceable to the National Standard which realize the physical units of mass according to the International System of units (SI).
used
6 | Principle/Methodology of | : |  | CSIR-NPL Calibration Procedure No. Sub-Div.#1.01/Doc.3/CP#WT/M-03. Method of comparison with the CSIR-NPL working standard(s) using substitution weighing. The reported mass value(s) is(are) the conventional mass value(s) (Mc) related to the true mass value(s) (Mt) by formula : Mc = Mt × [1 - 1.2 × (1/d - 1/8 000)].
Calibration & Calibration
Procedure number

## CRT-P2
A SET OF WEIGHTS
XXXXX/D1.01/C-xxx
| XX.XX.XXXX | [6 empty] | XX.XX.XXXX |  |  |  |  | 2 |  |  | 2
7 | Results |  | : | Denomination |  |  |  |  | Identification |  | Mass Value |  |  |  |  | Uncertainty
[9 empty] | Mark |  | (g) |  |  |  |  | (g)
[6 empty] | 50 kg |  |  | XXXX |  | 50000.0004 |  |  |  |  | ± | 0.025
[6 empty] | 20 kg |  |  | XXXX |  | 20000.0004 |  |  |  |  | ± | 0.01
[6 empty] | . 20 kg |  |  | XXXX |  | 20000.0004 |  |  |  |  | ± | 0.01
[6 empty] | 10 kg |  |  | XXXX |  | 10000.0004 |  |  |  |  | ± | 0.0005
[6 empty] | 5 kg |  |  | XXXX |  | 5000.0004 |  |  |  |  | ± | 0.0025
[6 empty] | 2 kg |  |  | XXXX |  | 1999.9998 |  |  |  |  | ± | 0.001
[6 empty] | .2 kg |  |  | XXXX |  | 1000.0001 |  |  |  |  | ± | 0.001
[6 empty] | 1 kg |  |  | XXXX |  | 999.9997 |  |  |  |  | ± | 0.0005
[6 empty] | 500 g |  |  | XXXX |  | 499.9996 |  |  |  |  | ± | 0.00025
[6 empty] | 200 g |  |  | XXXX |  | 199.9999 |  |  |  |  | ± | 0.0001
[6 empty] | . 200 g |  |  | XXXX |  | 200.0001 |  |  |  |  | ± | 0.0001
[6 empty] | 100 g |  |  | XXXX |  | 100.0001 |  |  |  |  | ± | 5e-05
[6 empty] | 50 g |  |  | XXXX |  |  | 50 |  |  |  | ± | 3e-05
[6 empty] | 20 g |  |  | XXXX |  |  | 20 |  |  |  | ± | 2.5e-05
[6 empty] | . 20 g |  |  | XXXX |  |  | 20 |  |  |  | ± | 2.5e-05
[6 empty] | 10 g |  |  | XXXX |  |  | 10 |  |  |  | ± | 2e-05
[6 empty] | 5 g |  |  | XXXX |  |  | 5 |  |  |  | ± | 1.6e-05
[6 empty] | 2 g |  |  | XXXX |  |  | 2 |  |  |  | ± | 1.2e-05
[6 empty] | . 2 g |  |  | XXXX |  |  | 2 |  |  |  | ± | 1.2e-05
[6 empty] | 1 g |  |  | XXXX |  |  | 1 |  |  |  | ± | 1e-05
[6 empty] | 500 mg |  |  | XXXX |  |  | 0.5 |  |  |  | ± | 8e-06
[6 empty] | 200 mg |  |  | XXXX |  |  | 0.20001 |  |  |  | ± | 6e-06
[6 empty] | . 200 mg |  |  | XXXX |  |  | 0.19999 |  |  |  | ± | 6e-06
[6 empty] | 100 mg |  |  | XXXX |  |  | 0.1 |  |  |  | ± | 5e-06
[6 empty] | 50 mg |  |  | XXXX |  |  | 0.050001 |  |  |  | ± | 4e-06
[6 empty] | 20 mg |  |  | XXXX |  |  | 0.020004 |  |  |  | ± | 3e-06
[6 empty] | . 20 mg |  |  | XXXX |  |  | 0.020006 |  |  |  | ± | 3e-06
[6 empty] | 10 mg |  |  | XXXX |  |  | 0.010002 |  |  |  | ± | 3e-06
[6 empty] | 5 mg |  |  | XXXX |  |  | 0.005003 |  |  |  | ± | 3e-06
[6 empty] | 2 mg |  |  | XXXX |  |  | 0.002003 |  |  |  | ± | 3e-06
[6 empty] | . 2 mg |  |  | XXXX |  |  | 0.002003 |  |  |  | ± | 3e-06
[6 empty] | 1 mg |  |  | XXXX |  |  | 0.001003 |  |  |  | ± | 3e-06
The reported uncertainty is at coverage factor k = 2 which corresponds to a coverage probability of approximately 95 % for a normal distribution. The contribution of uncertainty, originating from the standard(s) & balance(s) used, the weighing process and the air buoyancy correction, are taken into account.
8 | Date(s) of Calibration |  |  |  | : | XX.XX.XXXX
9 | Remarks |  |  |  | : | 1 | Mass value(s) of the weight(s) is(are) within the maximum errors permissible in E₂ accuracy class of weights as per OIML R 111-1 : 2004.
[6 empty] | 2 | Dots(.) are used to distinguish the weights of same nominal value.
|  | Calibrated By | [7 empty] | Checked By |  |  |  | Issued By

## Observation Sheet
Customer's details
Customer's No. |  |  | : | [5 empty] | Case No. |  |  | :
Customer's Name |  |  |  | : |  |  |  |  | Certificate issue |  |  |  | :
Name of Item(s) |  |  |  | :
Date of received |  |  |  | :
Descriptions of weight box | [5 empty] | :
Range |  |  |  | :
Make |  |  |  | :
Model No. |  |  |  | : |  |  |  |  | Serial No. |  |  | :
Date(s) of Calibration |  |  |  |  | :
Environmental Conditions
Date |  | Time |  |  | Temperature |  | Relative Humidity |  |  |  | Pressure
[5 empty] | (°C) |  | (%) |  |  |  | (mbar)
Date |  | Time |  |  | Temperature |  | Relative Humidity |  |  |  | Pressure
[5 empty] | (°C) |  | (%) |  |  |  | (mbar)
No. of wts. | Denomi-nation | Standard used (1) |  | Weighing cycle |  | Observation (mg) | Standard used (1) | Weighing cycle |  | Observation (mg)
1 | 50 kg | 50 kg |  | S |  |  | ..10 kg | S
|  |  |  | U |  |  |  | U
|  |  |  | U |  |  |  | U
|  |  |  | S |  |  |  | S
2 | 20 kg | 20 kg |  | S |  |  | .5 kg | S
|  |  |  | U |  |  |  | U
|  |  |  | U |  |  |  | U
|  |  |  | S |  |  |  | S
3 | .20 kg | 20 kg |  | S |  |  | ..2 kg | S
|  |  |  | U |  |  |  | U
|  |  |  | U |  |  |  | U
|  |  |  | S |  |  |  | S
4 | 10 kg | .. 10 kg |  | S |  |  | ..10 kg | S
|  |  |  | U |  |  |  | U
|  |  |  | U |  |  |  | U
|  |  |  | S |  |  |  | S
5 | 5 kg | ..5 kg |  | S |  |  | .5 kg | S
|  |  |  | U |  |  |  | U
|  |  |  | U |  |  |  | U
|  |  |  | S |  |  |  | S
6 | 2 kg | ..2 kg |  | S |  |  | ..2 kg | S
|  |  |  | U |  |  |  | U
|  |  |  | U |  |  |  | U
|  |  |  | S |  |  |  | S
7 | .2 kg | .. 2 kg |  | S |  |  | ..2 kg | S
|  |  |  | U |  |  |  | U
|  |  |  | U |  |  |  | U
|  |  |  | S |  |  |  | S
8 | 1 kg | 1 kg |  | S |  |  | 1 kg | S
|  |  |  | U |  |  |  | U
|  |  |  | U |  |  |  | U
|  |  |  | S |  |  |  | S
9 | 500 g | 500 g |  | S |  |  | 500 g | S
|  |  |  | U |  |  |  | U
|  |  |  | U |  |  |  | U
|  |  |  | S |  |  |  | S
10 | 200 g | .200 g |  | S |  |  | .200 g | S
|  |  |  | U |  |  |  | U
|  |  |  | U |  |  |  | U
|  |  |  | S |  |  |  | S
11 | .200 g | .200 g |  | S |  |  | .200 g | S
|  |  |  | U |  |  |  | U
|  |  |  | U |  |  |  | U
|  |  |  | S |  |  |  | S
12 | 100 g | ..100 g |  | S |  |  | ..100 g | S
|  |  |  | U |  |  |  | U
|  |  |  | U |  |  |  | U
|  |  |  | S |  |  |  | S
13 | 50 g | ..50 g |  | S |  |  | ..50 g | S
|  |  |  | U |  |  |  | U
|  |  |  | U |  |  |  | U
|  |  |  | S |  |  |  | S
14 | 20 g | .20 g |  | S |  |  | .20 g | S
|  |  |  | U |  |  |  | U
|  |  |  | U |  |  |  | U
|  |  |  | S |  |  |  | S
15 | .20 g | .20 g |  | S |  |  | .20 g | S
|  |  |  | U |  |  |  | U
|  |  |  | U |  |  |  | U
|  |  |  | S |  |  |  | S
16 | 10 g | .10 g |  | S |  |  | .10 g | S
|  |  |  | U |  |  |  | U
|  |  |  | U |  |  |  | U
|  |  |  | S |  |  |  | S
17 | 5 g | .5 g |  | S |  |  | .5 g | S
|  |  |  | U |  |  |  | U
|  |  |  | U |  |  |  | U
|  |  |  | S |  |  |  | S
18 | 2 g | ..2 g |  | S |  |  | ..2 g | S
|  |  |  | U |  |  |  | U
|  |  |  | U |  |  |  | U
|  |  |  | S |  |  |  | S
19 | .2 g | ..2 g |  | S |  |  | ..2 g | S
|  |  |  | U |  |  |  | U
|  |  |  | U |  |  |  | U
|  |  |  | S |  |  |  | S
20 | 1 g | .1 g |  | S |  |  | .1 g | S
|  |  |  | U |  |  |  | U
|  |  |  | U |  |  |  | U
|  |  |  | S |  |  |  | S
21 | 500 mg | 500 mg |  | S |  |  | 500 mg | S
|  |  |  | U |  |  |  | U
|  |  |  | U |  |  |  | U
|  |  |  | S |  |  |  | S
22 | 200 mg | 200 mg |  | S |  |  | 200 mg | S
|  |  |  | U |  |  |  | U
|  |  |  | U |  |  |  | U
|  |  |  | S |  |  |  | S
23 | .200 mg | 200 mg |  | S |  |  | 200 mg | S
|  |  |  | U |  |  |  | U
|  |  |  | U |  |  |  | U
|  |  |  | S |  |  |  | S
24 | 100 mg | 100 mg |  | S |  |  | 100 mg | S
|  |  |  | U |  |  |  | U
|  |  |  | U |  |  |  | U
|  |  |  | S |  |  |  | S
25 | 50 mg | 50 mg |  | S |  |  | 50 mg | S
|  |  |  | U |  |  |  | U
|  |  |  | U |  |  |  | U
|  |  |  | S |  |  |  | S
26 | 20 mg | 20 mg |  | S |  |  | 20 mg | S
|  |  |  | U |  |  |  | U
|  |  |  | U |  |  |  | U
|  |  |  | S |  |  |  | S
27 | .20 mg | 20 mg |  | S |  |  | 20 mg | S
|  |  |  | U |  |  |  | U
|  |  |  | U |  |  |  | U
|  |  |  | S |  |  |  | S
28 | 10 mg | 10 mg |  | S |  |  | 10 mg | S
|  |  |  | U |  |  |  | U
|  |  |  | U |  |  |  | U
|  |  |  | S |  |  |  | S
29 | 5 mg | 5 mg |  | S |  |  | 5 mg | S
|  |  |  | U |  |  |  | U
|  |  |  | U |  |  |  | U
|  |  |  | S |  |  |  | S
30 | 2 mg | 2 mg |  | S |  |  | 2 mg | S
|  |  |  | U |  |  |  | U
|  |  |  | U |  |  |  | U
|  |  |  | S |  |  |  | S
31 | .2 mg | 2 mg |  | S |  |  | 2 mg | S
|  |  |  | U |  |  |  | U
|  |  |  | U |  |  |  | U
|  |  |  | S |  |  |  | S
32 | 1 mg | 1 mg |  | S |  |  | 1 mg | S
|  |  |  | U |  |  |  | U
|  |  |  | U |  |  |  | U
|  |  |  | S |  |  |  | S

## CRT-P1-1 kg to 2 mg (hidden)
#REF!
#REF!
| XX.XX.XXXX |  | #VALUE! |  |  |  | 1 |  | 2
1 | Calibrated for | : |  | #REF!
#REF!
#REF!
#REF!
|  |  |  | Customer's Ref. No. | : | #REF!
|  |  |  | From | : | #REF!
2 | Description and identification
of instrument
| 1 kg to 1 g (13 Nos.) | : |  | Integral knob cylindrical stainless steel weights.
| 500 mg to 2 mg (11 Nos.) | : |  | Stainless steel wire weights.
| Assumed Density (d) | : |  | #REF! | k = 2
| #REF! | : |  | #REF!
| #REF! | : |  | #REF!
| #REF! | : |  | #REF!
| #REF! | : |  | #REF!
3 | Environmental conditions | : |  | Temperature | : | (23.0 ± 1.5) ºC
|  |  |  | Relative humidity | : | (50 ± 10) %
[Change in temperature during the calibration was less than ± 0.7 ºC per hour]
4 | Standard(s) used with | : |  | CSIR-NPL working standard(s) of mass with uncertainty better than one-third of the reported uncertainty of measurement.
associated uncertainty
5 | Traceability of Standard(s) | : |  | The working standard(s) used for calibration is(are) traceable to the National Standard which realize the physical units of mass according to the International System of units (SI).
used
6 | Principle/Methodology of | : |  | CSIR-NPL Calibration Procedure No. Sub-Div.#1.01/Doc.3/CP#WT/M-03. Method of comparison with the CSIR-NPL working standard(s) using substitution weighing. The reported mass value(s) is(are) the conventional mass value(s) (Mc) related to the true mass value(s) (Mt) by formula : Mc = Mt × [1 - 1.2 × (1/d - 1/8 000)].
Calibration & Calibration
Procedure number

## CRT-P2-1 kg to 2 mg (hidden)
A SET OF WEIGHTS
#REF!
| #REF! | [5 empty] | #REF! |  |  |  | 2 |  |  |  | 2
7 | Results | : | Denomination |  |  |  |  | Mass Value |  |  |  | Uncertainty
[8 empty] | (g) |  |  |  | (g)
[5 empty] | #REF! |  |  | #REF! |  | #REF! |  | ± | #REF!
[5 empty] | #REF! |  |  | #REF! |  | #REF! |  | ± | #REF!
[5 empty] | #REF! |  |  | #REF! |  | #REF! |  | ± | #REF!
[5 empty] | #REF! |  |  | #REF! |  | #REF! |  | ± | #REF!
[5 empty] | #REF! |  |  | #REF! |  | #REF! |  | ± | #REF!
[5 empty] | #REF! |  |  | #REF! |  | #REF! |  | ± | #REF!
[5 empty] | #REF! |  |  |  | #REF! | #REF! |  | ± | #REF!
[5 empty] | #REF! |  |  |  | #REF! | #REF! |  | ± | #REF!
[5 empty] | #REF! |  |  |  | #REF! | #REF! |  | ± | #REF!
[5 empty] | #REF! |  |  |  | #REF! | #REF! |  | ± | #REF!
[5 empty] | #REF! |  |  |  | #REF! | #REF! |  | ± | #REF!
[5 empty] | #REF! |  |  |  | #REF! | #REF! |  | ± | #REF!
[5 empty] | #REF! |  |  |  | #REF! | #REF! |  | ± | #REF!
[5 empty] | #REF! |  |  |  | #REF! | #REF! |  | ± | #REF!
[5 empty] | #REF! |  |  |  | #REF! | #REF! |  | ± | #REF! |  |  | 1
[5 empty] | #REF! |  |  |  | #REF! | #REF! |  | ± | #REF!
[5 empty] | #REF! |  |  |  | #REF! | #REF! |  | ± | #REF!
[5 empty] | #REF! |  |  |  | #REF! | #REF! |  | ± | #REF!
[5 empty] | #REF! |  |  |  | #REF! | #REF! |  | ± | #REF!
[5 empty] | #REF! |  |  |  | #REF! | #REF! |  | ± | #REF!
[5 empty] | #REF! |  |  |  | #REF! | #REF! |  | ± | #REF!
[5 empty] | #REF! |  |  |  | #REF! | #REF! |  | ± | #REF!
[5 empty] | #REF! |  |  |  | #REF! | #REF! |  | ± | #REF!
[5 empty] | #REF! |  |  |  | #REF! | #REF! |  | ± | #REF!
[5 empty] | #REF! |  |  |  | #REF! | #REF! |  | ± | #REF!
[5 empty] | #REF! |  |  |  | #REF! | #REF! |  | ± | #REF!
The reported uncertainty is at coverage factor k = 2 which corresponds to a coverage probability of approximately 95 % for a normal distribution. The contribution of uncertainty, originating from the standard(s) & balance(s) used, the weighing process and the air buoyancy correction, are taken into account.
8 | Date(s) of Calibration |  |  | : | #REF!
9 | Remarks |  |  | : | 1 | Mass value(s) of the weight(s) except that(those) marked with asterisk(*) is(are) within the maximum errors permissible in E₂ accuracy class of weights as per OIML R 111-1 : 2004. | [9 empty] | Mass value(s) of the weight(s) is(are) within the maximum errors permissible in E₂ accuracy class of weights as per OIML R 111-1 : 2004.
Mass value(s) of the weight(s) except that(those) marked with asterisk(*) is(are) within the maximum errors permissible in E₂ accuracy class of weights as per OIML R 111-1 : 2004.
[5 empty] | 2 | Dots(.) are used to distinguish the weights of same nominal value.

## Sheet1 (hidden)
Customer's details
Customer's No. |  |  | : | [5 empty] | Case No. |  | :
Customer's Name |  |  | :
Descriptions of items :
Name : | [8 empty] | Range :
Make : | [8 empty] | Serial No. :
Model No. : | [8 empty] | Box Id. No. :
Item No. :
Shape :
Material :
Date(s) of Calibration |  |  |  |  | :
Date |  | Time |  |  | Temperature |  | RH |  |  | Pressure
[5 empty] | (°C) |  | (%) |  |  | (mbar)
20.09.2023 |  | 10:00
11:00
12:00
1:00
2:00
3:00
4:00
5:00
21.09.2023 |  | 10:00
11:00
12:00
1:00
2:00
3:00
4:00
5:00
No. of wts. | Denomi-nation | Standard used (1) |  | Weighing cycle |  | Observation (mg) |  | Observation (mg) |  |  | Observation (mg)
1 | 20 kg |  |  | S
U
U
S
2 | 20 kg |  |  | S
U
U
S
1 | 10 kg |  |  | S
U
U
S
2 | 5 kg |  |  | S
U
U
S
3 | 2 kg |  |  | S
U
U
S
4 | .2 kg |  |  | S
U
U
S
No. of wts. | Denomi-nation | Standard used (1) |  | Weighing cycle |  | Observation (g) |  | Observation (g) |  |  | Observation (g)
4 | 1 kg |  |  | S
U
U
S
5 | 500 g |  |  | S
U
U
S
No. of wts. | Denomi-nation | Standard used (1) |  | Weighing cycle |  | Observation (mg) |  | Observation (mg) |  |  | Observation (mg)
6 | 200 g |  |  | S
U
U
S
7 | .200 g |  |  | S
U
U
S
No. of wts. | Denomi-nation | Standard used (1) |  | Weighing cycle |  | Observation (mg) |  | Observation (mg) |  |  | Observation (mg)
6 | 200 g |  |  | S
U
U
S
7 | .200 g |  |  | S
U
U
S
8 | 100 g |  |  | S
U
U
S
9 | .100 g |  |  | S
U
U
S
9 | 50 g |  |  | S
U
U
S
10 | 20 g |  |  | S
U
U
S
11 | .20 g |  |  | S
U
U
S
12 | 10 g |  |  | S
U
U
S
13 | 5 g |  |  | S
U
U
S
14 | 2 g |  |  | S
U
U
S
15 | .2 g |  |  | S
U
U
S
16 | 1 g |  |  | S
U
U
S
17 | 500 mg |  |  | S
U
U
S
No. of wts. | Denomi-nation | Standard used (1) |  | Weighing cycle |  | Observation (mg) |  | Observation (mg) |  |  | Observation (mg)
No. of wts. | Denomi-nation | Standard used (1) |  | Weighing cycle |  | Observation (mg) |  | Observation (mg) |  |  | Observation (mg)
18 | 200 mg |  |  | S
U
U
S
19 | .200 mg |  |  | S
U
U
S
20 | 100 mg |  |  | S
U
U
S
21 | 50 mg |  |  | S
U
U
S
22 | 20 mg |  |  | S
U
U
S
23 | .20 mg |  |  | S
U
U
S
24 | 10 mg |  |  | S
U
U
S
25 | 5 mg |  |  | S
U
U
S
26 | 2 mg |  |  | S
U
U
S
27 | .2 mg |  |  | S
U
U
S
27 | 1 mg |  |  | S
U
U
S

## Sheet2 (hidden)
2022-08-27 10:00 | 2022-08-27 11:00 | 2022-08-27 12:00 | 2022-08-27 13:00 | 2022-08-27 14:00 | 2022-08-27 15:00 | 2022-08-27 16:00 | 2022-08-27 17:00
23.4 | 23.73 | 23.63 | 23.62 | 23.73 | 23.8 | 23.75 | 23.61
59.99 | 55.28 | 55.43 | 55.78 | 55.38 | 55.12 | 54.95 | 55.03
974.6311 | 974.7429 | 974.5458 | 974.2144 | 973.688 | 972.9652 | 972.1351 | 971.4492
2022-08-29 10:00 | 2022-08-29 11:00 | 2022-08-29 12:00 | 2022-08-29 13:00 | 2022-08-29 14:00 | 2022-08-29 15:00 | 2022-08-29 16:00 | 2022-08-29 17:00
23.12 | 23.23 | 23.39 | 23.62 | 23.71 | 23.56 | 23.56 | 23.6
55.52 | 56.03 | 56.1 | 55.96 | 55.97 | 56.14 | 56.34 | 56.47
979.2104 | 979.5246 | 979.4036 | 979.0062 | 978.2699 | 977.2497 | 976.4401 | 975.9312