## Sheet1
Sl. No. | Parameter | Item Type / Group | Item Name | Alias Name | Calibration Parameters | No. of Points for Calibration | Limitation / Condition | Charges per Item Rs. | Additional Charges Rs. | #Description for Additional Charges | Remarks, if any | Normal | Tatkal
1 | Water Flow | Water Flow Meter/ Water Meter | Coriolis Mass Flow Meter (size: 2-25 mm diameter) | - | total mass/ total volume/ mass flow rate/volume flow rate | 4 |  | 20020 | 5100 | for additional each point | Only one calibration parameter. | 3 days | 2 days
2 | Water Flow | Water Flow Meter/ Water Meter | Coriolis Mass Flow Meter (size: above 25 & upto 50 mm diameter) | - | total mass/ total volume/ mass flow rate/volume flow rate | 4 |  | 23100 | 5800 | for additional each point | Only one calibration parameter. | 3 days | 2 days
3 | Water Flow | Water Flow Meter/ Water Meter | Coriolis Mass Flow Meter (size: above 50 & upto 100 mm diameter) | - | total mass/ total volume/ mass flow rate/volume flow rate | 4 |  | 30800 | 7700 | for additional each point | Only one calibration parameter. | 3 days | 2 days
4 | Water Flow | Water Flow Meter/ Water Meter | Coriolis Mass Flow Meter (size: above 100 & upto 150 mm diameter) | - | total mass/ total volume/ mass flow rate/volume flow rate | 4 |  | 37180 | 9300 | for additional each point | Only one calibration parameter. | 3 days | 2 days
5 | Water Flow | Water Flow Meter/ Water Meter | Coriolis Mass Flow Meter (size: above 150 & upto 200 mm diameter) | - | total mass/ total volume/ mass flow rate/volume flow rate | 4 |  | 44000 | 11000 | for additional each point | Only one calibration parameter. (Maximum flow rate: 650 m3/h) | 3 days | 2 days
6 | Water Flow | Water Flow Meter/ Water Meter | Coriolis Mass Flow Meter (size: above 200 & upto 300 mm diameter) | - | total mass/ total volume/ mass flow rate/volume flow rate | 4 |  | 86350 | 21600 | for additional each point | Only one calibration parameter. (Maximum flow rate: 650 m3/h) | 10 days | 5 days
7 | Water Flow | Water Flow Meter/ Water Meter | Magnetic, orifice, ultrasonic, turbine, vortex, water meter, infusion pump, infusion pump analyzer, mass flow controller etc. (size: upto 25 mm diameter) | - | total volume/volume flow rate | 4 |  | 14850 | 3800 | for additional each point | Only one calibration parameter. | 3 days | 2 days
8 | Water Flow | Water Flow Meter/ Water Meter | Magnetic, orifice, ultrasonic, turbine, vortex, water meter, etc. (size: above 25 & upto 50 mm diameter) |  | total volume/volume flow rate | 4 |  | 17050 | 4300 | for additional each point | Only one calibration parameter. | 3 days | 2 days
9 | Water Flow | Water Flow Meter/ Water Meter | Magnetic, orifice, ultrasonic, turbine, vortex, water meter, etc. (size: above 50 & upto 100 mm diameter) |  | total volume/volume flow rate | 4 |  | 19800 | 5000 | for additional each point | Only one calibration parameter. | 3 days | 2 days
10 | Water Flow | Water Flow Meter/ Water Meter | Magnetic, ultrasonic, orifice, turbine, vortex, water meter, etc. (size: above 100 & upto 150 mm diameter) |  | total volume/volume flow rate | 4 |  | 26950 | 6800 | for additional each point | Only one calibration parameter. | 3 days | 2 days
11 | Water Flow | Water Flow Meter/ Water Meter | Magnetic, ultrasonic, orifice, turbine, vortex, water meter, etc. (size: above 150 & upto 200 mm diameter) |  | total volume/volume flow rate | 4 |  | 30800 | 7700 | for additional each point | Only one calibration parameter. (Maximum flow rate: 650 m3/h) | 3 days | 2 days
12 | Water Flow | Water Flow Meter/ Water Meter | Magnetic, ultrasonic, turbine, vortex, water meter, etc. (size: above 200 & upto 300 mm diameter) |  | total volume/volume flow rate | 4 |  | 41800 | 10500 | for additional each point | Only one calibration parameter. (Maximum flow rate: 650 m3/h) | 7 days
13 | Water Flow | Water Flow Meter/ Water Meter | Magnetic, vortex, ultrasonic, turbine, water meter, etc. (size: above 300 & upto 400 mm diameter) |  | total volume/volume flow rate | 4 |  | 5500 | 13800 | for additional each point | Only one calibration parameter. (Maximum flow rate: 650 m3/h) | 7 days
14 | Water Flow | Water Flow Meter/ Water Meter | Magnetic, vortex, ultrasonic, turbine, water meter, etc. (size: above 400 & upto 500 mm diameter) |  | total volume/volume flow rate | 4 |  | 71500 | 17900 | for additional each point | Only one calibration parameter. (Maximum flow rate: 650 m3/h) | 7 days
15 | Water Flow | Water Flow Meter/ Water Meter | Clamp-on type ultrasonic flow meter (flow range: upto 60 m3/h and for each sensor) |  | total volume/volume flow rate | 4 |  | 17050 | 4300 | for additional each point | Only one calibration parameter. | 3 days | 2 days
16 | Water Flow | Water Flow Meter/ Water Meter | Clamp-on type ultrasonic flow meter (flow range: upto 210 m3/h and for each sensor) |  | total volume/volume flow rate | 4 |  | 19800 | 5000 | for additional each point | Only one calibration parameter. | 3 days | 2 days
17 | Water Flow | Water Flow Meter/ Water Meter | Clamp-on type ultrasonic flow meter (flow range: upto 400 m3/h and for each sensor) |  | total volume/volume flow rate | 4 |  | 26950 | 6800 | for additional each point | Only one calibration parameter. | 3 days | 2 days
18 | Water Flow | Water Flow Meter/ Water Meter | Clamp-on type ultrasonic flow meter (flow range: upto 650 m3/h and for each sensor) |  | total volume/volume flow rate | 4 |  | 30800 | 7700 | for additional each point | Only one calibration parameter. | 3 days | 2 days