## Sheet1
Sl. No. | Parameter | Item Type / Group | Item Name | Alias Name | Range | No. of Points for Calibration | Limitation / Condition | New Charges per item in Rs. | Additional Charges Rs. ( for extra point) | Description for Additional Charges
1 | .DC High Voltage | DC High Voltage Source | HV Supply | HV Power Supply | Up to 50 kV | 5 |  | 41600 | 7500 | For each additional point
2 | DC High Voltage | DC High Voltage Source | HV Supply | HV Power Supply | Up to 100 kV | 5 |  | 73500 | 14600 | For each additional point
3 | DC High Voltage | DC High Voltage Meter | Kilo-Volt Meter (without Divider) | Electrostatic Voltmeter | Up to 100 kV | 5 |  | 45500 | 8800 | For each additional point
4 | DC High Voltage | DC High Voltage Meter | .Kilo-Volt Meter with Divider | Electrostatic Voltmeter | Up to 100 kV | 5 |  | 71400 | 14600 | For each additional point
5 | DC High Voltage Divider Ratio | DC High Voltage Divider | HV Divider (Upto 50 kV) |  | 1000:1 & 10000:1 | One Ratio (5 points) |  | 38400 | 7500 | For each additional ratio
6 | DC High Voltage Divider Ratio | DC High Voltage Divider | HV Divider (Upto 100 kV) |  | 1000:1 & 10000:1 | One Ratio (5 points) |  | 75900 | 14600 | For each additional ratio
7 | DC High Voltage Divider Ratio | DC High Voltage Divider | HV Probe |  | Upto 50 kV | 5 |  | 39100 | 7500 | For each additional point
8 | DC High Current | DC High Current Source | High Current Supply |  | Upto 600A | 5 |  | 74900 | 14600 | For each additional point