## Sheet1
Sl. No. | Parameter | Item Type / Group | Item Name | Alias Name | Range | No. of Points for Calibration | Sample Requireme nts , if any | Charges per Item Rs | Additional Charges Rs. | Description for Additional Charges | Remarks,if any | EDC
1 | AC Energy | Energy Meters | 1-Phase Energy Meter | 1-Phase Energy Meter |  | One Voltage*Current Range (Accuracy, voltage & frequency influences) |  | 9000 | 6900
2 | AC Energy | Energy Meters | 3-Phase energy/ 1- Phase PRS Meter | Phase Energy Meter/1- Phase Metronic / Songyang |  | One Voltage*Current Range (Accuracy, Voltages/currents & voltage/frequency influences) |  | 11000 | 8000 | For each additional range
3 | AC Energy | Energy Meters | 3-Phase PRS Meter/Trive ctor / Accucheck Meter | Trivector Energy Meter/Accu check meter/song yang |  | One Voltage*Current Range (Accuracy, Voltages/currents & voltage/frequency influences) |  | 15000 | 9700 | For each additional range
4 | AC Power | Power Meters | 1-Phase High Precision Power Meter/Phas e Angle Meter/Tran sducer, Class 0.5 & above | 1-Phase Watt Meter/Phas e Angle Meter/Tran sducer |  | One Voltage*Current Range |  | 9000 | 6900 | For each additional range
5 | AC Power | Power Meters | 3-Phase High Precision Power Meter, Class:0.5 & above | 3-Phase Watt Meter |  | One Voltage*Current Range |  | 14000 | 9700 | For each additional range
6 | AC Power | Power Meters | 3-Phase Transducer , Class: 0.5 & above | 3-Phase Transducer |  | One Voltage*Current Range |  | 15000 | 9700 | For each additional range
7 | Power Factor | Power Factor | Meters 1/3 Phase Power Factor Meter | 1/3 Phase PF Meter |  | One Voltage*Current Range |  | 9000 | 6900 | For each additional range
8 | AC Current & AC Voltage | Power / Energy Meters | Power /Energy Meter | Power /Energy Meter/WattMeter/ PRS Meter |  | One Voltage & Current Range |  | 9000 | 6900 | For each additional 15 points
9 | AC Power / Energy | 1/3-Phase Reference Power / Energy Meters | 1/3-Phase Power & Energy Meter/Calib rator, 3W/4W, Class 0.05/0.02 | 1/3-Phase Reference Power / Energy Meter | Four Power & Energy ranges |  |  | 35000 | 14000 | For each additional range/reacti ve/ apparent power/ener gy
10 | AC Power / Energy | 1/3-Phase Reference Power / Energy Meters | 1/3-Phase Power & Energy Meter/ Calibrator, 3W / 4W, Class 0.05/0.02 | 1/3-Phase Reference Power / Energy Meter | Six Power & Energy ranges and Voltage, Current & PF ranges |  |  | 56000 | 19000 | For each additional range/reacti ve/ apparent power/ener gy
11 | AC Power / Energy | 1/3-Phase Reference Power / Energy Meters | 1/3-Phase Power & Energy Meter/ Calibrator, 3W/4W Class 0.01 | 1/3-Phase Reference Power / Energy Meter | Six Power & Energy ranges and Voltage, Current & PF ranges |  |  | 98000 | 28000 | For each additional range/reactive/apparent power/energy
12 | AC Power / Energy | 1/3-Phase Reference Power / Energy Meters | 1/3 Phase Power & Energy Meter/Calib rator,3W/4 W Class 0.01 | 1/3-Phase Reference Power / Energy Meter | Eight Power & Energy ranges and Voltage, Current , PF ranges |  |  | 140000 | 35000 | For each additional range/reacti ve/ apparent power/ener gy