## Sheet1
Sl. No. | Parameter | Item Type/ Group | Item Name | Alias Name | Range | No of Points for Calibration | Limitation/ Condition | Charges per Item Rs | Additional Charges Rs | Description for Additional Charges | Remarks, if any | Normal | Tatkal
1 | Calibration of measured energy by Defibrillator Analyzer | Defibrillator Analyser (1 unit) | (i) Measured energy (J), (ii) Internal /load Resistance (Ohm), (iii) Pacer Resistance (Ohm) |  | 150 J & 270 J at 50 Ohm | Two Points | Calibration charges are to be paid for a minimum of two energy (J) points | 16500 | 16500 | Extra points: (i) 50J & 100J, (ii) Discharge Time (ms) | Total calibration charges for four points (50 J, 100 J, 150 J, 270 J) are Rs. 33,000/ | 3 weeks | 5 working days
2 | Calibration of Voltage & Frequency of ECG Simulator | ECG Simulator | (i) Voltage (ii) Frequency |  | (i) 3 & 5 mV amplitude for Sine waveform and Normal Sinus waveform (ii) Sine waveform: 60 Hz, Square waveform: 2 Hz, Normal Sinus waveform: 1 Hz, 2 Hz & 3 Hz | Nine Points | Calibration charges are to be paid for a minimum of nine points | 9600 | 1,070 per point | Extra points (All points): (i) Voltage: 4 mV amplitude for Sine waveform & Normal Sinus waveform (ii) Frequency: Sine waveform: 100 Hz & 150 Hz; Normal Sinus waveform: 4 Hz & 5 Hz) | Total calibration charges for 15 points are Rs. 16,020/- | 4 weeks | 7 working days
3 | Calibration of flow rate of Infusion Pump Analyzer | Infusion Pump Analyzer | (i) Flow Rate (ml/hr) (ii) Occlusion Pressure (kPa) |  | 50 ml/hr, 100 ml/hr & 300 ml/hr | Three Points | Calibration charges are to be paid for a minimum of three points. | 20900 | 6,970 per point | Extra points: 10 ml/hr, 200 ml/hr & 900 ml/hr | Total calibration charges for 6 points are Rs. 41,810/- (for single channel) | 3 weeks | 5 working days