## Sheet1
Sl. No. | Parameter | Item Type / Group | Item Name | Alias Name | Range | No. of Points for Calibration | *Present Charges per Item Rs. | Present Additional Charges Rs. | Description for Additional Charges | Remarks, if any | Normal | Tatkal
1 | AC Voltage & Current / *AC-DC Voltage Transfer Difference | Multimeter | Digital Multimeter |  | 1mV to 1000 V 1mA to 20A | 3 Frequencies 7 levels/ *3 Frequencies 5 levels | 143100 | 44900 | \For each additional frequency7levels/ अतिरिक्त आवतृि के तिए/ |  | 3 to 4 weeks for each parameter in the booked time slot | 8 days
2 | AC Voltage & Current / *AC-DC Voltage Transfer Difference | Calibrator | Voltage & Current Calibrator | Multifunction / Multi Product Calibrator | 1mV to 1000 V 1mA to 10A | 3 Frequencies 7 levels/ *3 Frequencies 5 levels | 143100 | 44900 | For each additional frequency/अतिरिक्त आवतृि के तिए |  | 3 to 4 weeks for each parameter in the booked time slot | 8 days
3 | AC Voltage | Reference Source | AC Reference Source |  |  | 3 Frequency | 60900 | 20400 | For each additional frequency/अतिरिक्त आवतृि के तिए |  | 3 to 4 weeks for each parameter in the booked time slot | 5 days
4 | AC Current | Transconduct ance Amplifier | Transconduct ance Amplifier | AC Current Source | Up to 20A | 1 Frequency | 44900 | 44900 | For each additional frequency/ अतिरिक्त आवतृि के तिए |  | 3 to 4 weeks for each parameter in the booked time slot | 5 days
5 | AC-DC Voltage Transfer Difference | Potentiometer | Micropotentio meter | Low Voltage TVC | 1mV to 200 mV | 3 Frequency | 50700 | 16900 | For each additional frequency/ अतिरिक्त आवतृि के तिए |  | 3 to 4 weeks for each parameter in the booked time slot | 8 days
6 | AC-DC Voltage Transfer Difference | Thermal Converter/AC Measurement Standard/ | Thermal Voltage Converter |  | 1mV to 1000V | 3 Frequency per voltage level | 50700 | 16900 | For each additional frequency/ अतिरिक्त आवतृि के तिए |  | 3 to 4 weeks for each parameter in the booked time slot | 8 days
7 | AC-DC Voltage Transfer Difference | Thermal Transfer Standard | Thermal Transfer Standard |  | 250 mV to 1000 V | 1 Frequency | 126800 | 111700 | For each additional frequency/ अतिरिक्त आवतृि के तिए |  | 3 to 4 weeks for each parameter in the booked time slot | 7 days
8 | AC-DC Voltage Transfer Difference | Thermal Transfer Standard | Thermal Transfer Standard |  | 2mV to 1000 V | 1 Frequency | 164100 | 143100 | For each additional frequency/ अतिरिक्त आवतृि के तिए |  | 3 to 4 weeks for each parameter in the booked time slot | 7 days
9 | AC-DC Voltage Transfer Difference | Shunt | Current Shunt |  | 1mA to 20A | 3 Frequency | 50700 | 16900 | For each additional frequency/ अतिरिक्त आवतृि के तिए |  | 3 to 4 weeks for each parameter in the booked time slot | 7 days
10 | AC-DC Voltage & Force | Amplifier with Load cell | Dynamic Strain Meter |  | 0-5 V and upto 100 kN | One channel in one load cell | 86400 | 84600 | For each additional channel / load cell |  | 3 to 4 weeks for each parameter in the booked time slot | 6 days
11 | AC Voltage | AC Measurement Std | AC Measurement Std | AC Measurement Std | 1mV to 1000V | 3 Frequencies | 143100 | 44900 | For each additional frequency/ अतिरिक्त आवतृि के तिए |  | 3 to 4 weeks for each parameter in the booked time slot | 6 days
12 | AC-DC Current Transfer Difference | Current Shunt | AC Measurement Std/+Current Shunt | AC Measurement Std/+Current Shunt | 1mA to 20A | 3 Frequencies | 50700 | 16900 | For each additional frequency/ अतिरिक्त आवतृि के तिए |  | 3 to 4 weeks for each parameter in the booked time slot | 8 days
13 | AC/DC Voltage, Frequency, Time base, DC gain Accuracy, Bandwidth | Handheld CRO | Oscilloscope/ Scope Calibrator | Handheld CRO | 10Hz to 1MHz | 3 Frequencies | 14500 | 1000 | For each additional frequency/ अतिरिक्त आवतृि के तिए |  | 3 to 4 weeks for each parameter in the booked time slot | 5 days
14 | AC/DC Voltage, Frequency, Time base, DC gain Accuracy, Bandwidth | CRO | Oscilloscope/ Scope Calibrator | CRO/DSO/M SO | 10Hz to 1MHz | 3 Frequencies | 35000 | 1000 | For each additional frequency/ अतिरिक्त आवतृि के तिए |  | 3 to 4 weeks for each parameter in the booked time slot | 5 days