## Sheet1
| Parameter | Item Type / Group | Item Name | Alias Name | Range | No. of Points for Calibration | Limitation / Condition | *Present Charges per Item Rs. | Present Additional Charges Rs. | Description for Additional Charges | Remarks, if any
1 | Frequency/ आवृत्ति | Frequency Counter/ आवृत्ति काउन्टर | Frequency Counter/ आवृत्ति काउन्टर | Frequency meter/ आवृत्ति मीटर |  | 6 Frequency points for Frequency / Period | Stability >1.0E-8 | 41500 | 6200 | For each additional frequency / अतिरिक्त आवृत्ति केलिए | For 'Basic Oscillator' calibration of this counter, see "Time & Freqency" Parameter
2 | Frequency/ आवृत्ति | Frequency Counter/ आवृत्ति काउन्टर | Universal Counter/ सार्विक काउन्टर |  |  | 6 Freq. points for Frequency / Period & Time Interval |  | 57300 | 9200 | For each additional frequency / अतिरिक्त आवृत्ति केलिए
3 | RF Voltage/ रेडियो-आवृत्ति वोल्टे ज | Voltmeter/ वोल्टमीटर | Selective Microvoltmet er/ चयनात्मक माइक्रोवोल्टमीटर | Level Meter/ लेवलमीट | Up to 1000 MHz | 6 Frequencies with 50 ohm Input Impedance |  | 89700 | 13800 | For each additional frequency / अतिरिक्त आवृत्ति केलिए
4 | RF Voltage/ रेडियो-आवृत्ति वोल्टे ज | Voltmeter/ वोल्टमीटर | RF Millivoltmeter / मिलीवोल्टमीटर |  | Up to 1000 MHz | 6 Frequencies per probe |  | 89700 | 24500 | For each additional frequency / अतिरिक्त आवृत्ति केलिए
5 | RF Power & Frequency/ रेडियो-पावर एवं आवृत्त | Signal Generator/ संकेतउत्पादक | Synthesizer/ सिंथसाइज़र | Sweep Oscillator/ स्वीपआसलैट र | 1 MHz to 18 GHz | 5 frequencies for Power Level, Time Base Accuracy & Frequency Response | Type N connector | 89700 | 9200 | For each additional frequency / अतिरिक्त आवृत्ति केलिए
6 | RF Power & Frequency/ रेडियो-पावर एवं आवृत्त | Spectrum Analyser/ स्पेक्ट्रमविश्लेषक | Spectrum Analyser/ स्पेक्ट्रमविश्लेषक | Wave Analyser/ तरंगविश्लेषक | 1 MHz to 18 GHz | 5 frequencies for Power Level, Time Base Accuracy & Frequency Response | Type N connector | 89700 | 9200 | For each additional frequency / अतिरिक्त आवृत्ति केलिए
7 | Effective Efficiency / Calibration Factor / RF Power | Power Meter/ पावर मीटर | RF Power Meter with Sensor/ रेडियो- आवृत्ति पावर मीटर संवेदक के साथ |  | 1 MHz to 18 GHz | 3 Frequencies with one Sensor (Effective Efficiency/ Calibration Factor/ RF Power) | Type N connector | 30900 | 9200 | For each additional frequency / अतिरिक्त आवृत्ति केलिए | (For VSWR, separate charges under VSWR/reflectio n coefficient parameter)/ वोल्टे ज स्टै न् डींग वेव रेशो/परावर्तन दर के लिए अ तिरिक्त प्रभार व्यय
8 | Effective Efficiency / Calibration Factor | Coaxial Thermistor Mount/ समाक्षीय थर्मिस्टर माउन्ट | Coaxial Thermistor Mount/ समाक्षीय थर्मिस्टर माउन्ट | Power Mount/ पावर माउन्ट | 1 MHz to 18 GHz | 1 Frequency/एक आवृत्ति केलिए | Type N connector | 61500 | 20200 | For each additional frequency / अतिरिक्त आवृत्ति केलिए | (For VSWR, separate charges under VSWR/reflectio n coefficient parameter)/ वोल्टे ज स्टै न् डींग वेव रेशो/परावर्तन दर के लिए अ तिरिक्त प्रभार व्यय
9 | Effective Efficiency / Calibration Factor | RF Power Transfer Standard/ रेडियो- आवृत्ति पावरअंतरण मानक | RF Power Transfer Standard/ रेडियो- आवृत्ति पावरअंतरण मानक |  | 1 MHz to 18 GHz | 1 Frequency/एक आवृत्ति केलिए | Type N connector | 18800 | 17800 | For each additional frequency / अतिरिक्त आवृत्ति केलिए | (For VSWR, separate charges under VSWR/reflectio n coefficient parameter)/ वोल्टे ज स्टै न् डींग वेव रेशो/परावर्तन दर के लिए अ तिरिक्त प्रभार व्यय
10 | Effective Efficiency / Calibration Factor | RF Power Transfer Standard/ रेडियो- आवृत्ति पावरअंतरण मानक | RF Power Transfer Standard/ रेडियो- आवृत्ति पावरअंतरण मानक |  | 1 MHz to 50 GHz | 2 Frequency/एक आवृत्ति केलिए | 2.4mm connector | 81400 | 40700 | For each additional frequency / अतिरिक्त आवृत्ति केलिए | (For VSWR, separate charges under VSWR/reflectio n coefficient parameter)/ वोल्टे ज स्टै न् डींग वेव रेशो/परावर्तन दर के लिए अ तिरिक्त प्रभार व्यय
11 | Effective Efficiency / Calibration Factor | Power Meter/ पावर मीटर | RF Power Meter with Sensor/ रेडियो- आवृत्ति पावर मीटर संवेदक के साथ |  | 1 MHz to 50 GHz | 3 Frequencies with one Sensor (Effective Efficiency/ Calibration Factor/ RF Power) | 2.4mm connector | 44600 | 14900 | For each additional frequency / अतिरिक्त आवृत्ति केलिए | (For VSWR, separate charges under VSWR/reflectio n coefficient parameter)/ वोल्टे ज स्टै न् डींग वेव रेशो/परावर्तन दर के लिए अ तिरिक्त प्रभार व्यय
12 | AC & DC Voltage and Curent at different configuration , Line Frequency, GPS Validation | PMU CAL System | Phasor Measurement Unit Calibrator System/ | PMU-CAL | ACV~100 0V ACC~20A DCV~150 DCC~5A GPS Lime Freq | Full Calibration @ pre selected points | Congigurati on of System at CSIR-NPL should be done by USER | 1200000
13 | PMU Calibration | M Class | Phasor Measurement Unit | PMU | 50V to 150V 1A to 5A 50/60 Hz 25/50 fps | One Level/ Freq/reporting rate | Congigurati on of PMU at CSIRNPL should be done by USER | 16400 | 16400 | For each additional frequency / अतिरिक्त आवृत्ति केलिए
14 | PMU Calibration | P Class | Phasor Measurement Unit | PMU | 50V to 150V 1A to 5A 50/60 Hz 25/50 fps | One Level/ Freq/reporting rate | Congigurati on of PMU at CSIRNPL should be done by USER | 15400 | 15400 | For each additional frequency / अतिरिक्त आवृत्ति केलिए