## Sheet1
Sl. No. | Parameter | Item Type / Group | Item Name | Alias Name | Range | No. of Points for Calibration/ imaging /milling/ deposition | *Present Charges per Item Rs. | *Present Additional Charges Rs. | Description for Additional Charges | Remarks, if any
1 | Testing charges for High resolution FESEM imaging per sample | FESEM imaging | Nanomaterials/ thin films / powders / wafers /substrates/ pellets/stents /textile fibers |  | Mag. 12x1000kx | Three magnifications, 4 images/ mag | 5222/- |  |  | Minimum sample acceptable is restricted to 2 for one time testing
2 | Testing Charges for high resolution FESEM & EDS per sample | FESEM imaging & EDS | Nanomaterials/ thin films / powders / wafers /substrates/ pellets/stents /textile fibers |  | Mag. 50x1000kx | Three magnifications, 3 images and 3 EDS spectrographs/ mag | 7573/- |  |  | Minimum sample acceptable is restricted to 2 for one time testing
3 | Charges for FESEM calibration Standard fabricated by electron beam lithography (EBL) per standard (BND 2009-P) SemCali Array | Reference Material | Dimensional artifact/ Calibration reference material for SEM and AFM |  | Chip (SiO2/Si) size 10x10 mm or less, pattern size 1.5x1.5 mm area | Low reso square patterns of 100 um, and 10 um. High reso line patterns of 300nm and 200nm | 27347/- |  |  | Validity 2 years
4 | Charges for Optical microscope calibration Standard fabricated by electron beam lithography (EBL) per sample (BND 2007-P (OptoMicroRuler)) | Reference Material | Dimensional artifact/ Calibration reference material for optical microscope |  | Chip (SiO2/Si) size 10x10 mm or less, pattern size 1.5x1.5 mm area | Low reso square patterns of 100 um, and 10 um. High reso patterns of 2um squares and 400nm lines | 12943/- |  |  | Validity 2 years
5 | Charges for Optical microscope calibration Standard fabricated by electron beam lithography (EBL) per standard )(BND 2008- P (TransMicroRuler)) | Reference Material | Dimensional artifact/ Calibration reference material for optical microscope (transmission mode) |  | Chip (ITO glass) size 10x10 mm or less, pattern size 1.5x1.5 mm area | Low reso square patterns of 100 um, and 10 um. High reso patterns of 2um squares | 12943/- |  |  | Validity 2 years
6 | Charges for Nanopattern Fabrication using FIB Milling (per hour) | FIB milling | FIB milling for device fabrication/ckt modifications/ pattern writing |  | Low mag 100 um x 100 um area, high mag single pixel line/ dot milling down to 40nm | Pattern milling as per request. Max milling time is 1 h | 16778/- |  |  | 1 hr includes milling and patternoptimization procedure
7 | Charges for FIB - GIS assisted Tungsten (W) deposition Nano Contacts (per hour) | FIB deposition | W deposition |  | Low mag deposition 50 um x 50 um area, high mag deposition 500 nm x 20 um line | depostion (sequencially) as per request. Max depostion time is 1 hr | 26395/- |  |  | 1 hr includes deposition and parameter optimization
8 | Charges for FIB - GIS assisted Platinum (Pt) deposition Nano Contacts (per hour) | FIB deposition | Pt deposition |  | Low mag deposition 50 um x 50 um area, high mag deposition 500 nm x 20 um line | depostion (sequencially) as per request. Max depostion time is 1 hr | 26395/- |  |  | 1 hr includes deposition and parameter optimization
9 | Testing Charges for stent per hour | FESEM imaging and metal coating | Drug coating integrity and thickness determination test |  | Mag. 12x1000kx | Three magnifications, 4 images/ mag, for expanded and non expanded stents | 15060/- |  |  | 1 hr time for FESEM imaging/stent