## Sheet1
Sl. No. | Parameter | Item Type / Group | Item Name | Alias Name | Range | No. of Points for Calibration | Limitation / Condition | *Present Charges per Item Rs. | *Present Additional Charges Rs. | Description for Additional Charges | Remarks, if any
1 | Attenuation | Attenuator | Coaxial Fixed Attenuator | Attenuation Pad | 0.1-60 dB at 30 MHz & 1-40 GHz | 3 Frequencies | Connector Type-N/7mm (50 ohm)/2.4mm | 26300 | 8800 | For each additional frequency
2 | Attenuation | Attenuator | Waveguide Fixed Attenuator | Attenuation Pad | 0.1-60 dB at 5.8-18 GHz | 3 Frequencies | Waveguide flang | 26300 | 8800 | For each additional frequency
3 | Attenuation | Attenuator | Coaxial step Attenuator | Variable Attenuator | 0.1-60 dB at 30 MHz & 1-40 GHz | 1 Frequencies | Connector Type-N/7mm (50 ohm)/2.4mm | 108100 | 108100 | For each additional frequency
4 | Attenuation | Attenuator | Rotary Vane Attenuator | Variable Attenuator | 0.1-60 dB at 5.8-18 GHz | 1 Frequencies | Waveguide flang | 83700 | 83700 | For each additional frequency
5 | Attenuation | Attenuator | 30 MHz WBCO Attenuator | Standard Piston Attenuator | 0.05-60 dB at 30 MHz | 1 Frequencies | Connector Type-N/7mm (50 ohm) | 91400
6 | Attenuation | Coupler | Coaxial Directional Coupler |  | 0.1-60 dB at 30 MHz & 1-18 GHz | 1 Frequencies | Connector Type-N/7mm (50 ohm) | 14400 | 14400 | For each additional frequency
7 | Attenuation | Coupler | Waveguide Directional Coupler |  | 0.1-60 dB at 5.8-18 GHz | 3 Frequencies | Waveguide flange | 43100 | 14400 | For each additional frequency
8 | Attenuation | Coupler | Dual Directional Coupler |  | 0.1-60 dB at 30 MHz & 1-18 GHz | 1 Frequency | Connector Type-N/7mm (50 ohm) | 26300 | 26300 | For each additional frequency
9 | Attenuation | 30MHz Receiver | Attenuator & Signal Calibrato | Receiver with built-in 30MHz Attenuator | 0.1-60 dB at 30 MHz | 1 Frequency | Connector Type-N/7mm (50 ohm) | 108100
10 | Attenuation | Splitter | Power Splitter | Power Divider | 0.1-60 dB at 30 MHz & 1-18 GHz | 1 Frequency | Connector Type-N/7mm (50 ohm) | 14400 | 14400 | For each additional frequency
11 | Reflection Coefficient/ VSWR | Termination | Coaxial Mismatch | Coaxial Termination | 1.02-5 at 2 -18 GHz | 3 Frequencies | Connector Type-N/7mm (50 ohm) | 26300 | 8800 | For each additional frequency
12 | Reflection Coefficient/ VSWR | Sensor | RF Transfer Standard | Coaxial Thermister Mount | 1.02-5 at 2 -18 GHz | 3 Frequencies | Connector Type-N/7mm (50 ohm) | 26300 | 8800 | For each additional frequency
13 | Attenuation | 1kHz Receiver | VSWR Meter | RF Ratiometer | 0.1-30 dB at 1kHz | 1 Frequency | Connector BNC (50 ohm) | 46400
14 | Attenuation & VSWR | Bridge | SWR Bridge |  | 0.1-60 dB at 1- 18 GHz, 1.02-5 at 2 -18 GHz | 1 Frequency | Connector Type-N/7mm (50 ohm) | 26300 | 26300 | For each additional frequency
15 | Reflection Coefficient/ VSWR | Termination | Waveguide Standard Mismatch | Waveguide Match Load | 0.01-0.2 at 5.8- 18 GHz | 3 Frequencies | Waveguide flange | 46400 | 15300 | For each additional frequency
16 | Reflection Coefficient | Reflection Standard | Coaxial Short/Open Circuit | Offset Short Circuit | 0.96-0.99 at 2- 18 GHz | 3 Frequencies | Connector Type-N/7mm (50 ohm) | 32300 | 11100 | For each additional frequency
17 | Reflection Coefficient/ VSWR | Impedance Standard | Coxial Airline | Beadless Airline | 0.01-0.05 at 2- 18 GHz | 1 Frequency | Connector Type-N/7mm (50 ohm) | 11100 | 11100 | For each additional frequency
18 | Phase | Phase Shifter | Rotary Vane Phase Shifter | Variable Phase Shifter | 0-180 degree (X-Band) | 1 Frequency | Waveguide flange | 83700 | 83700 | For each additional frequency
19 | E Field (V/m)/Radiated power density(mW/cm2) | Antenna | Probe | Microwave leakage detector | (19a) Probe (19b) Probe (19c) Probe as per TEC Norm | (19a)1 Freq. and 3 power levels(19b)3 Freq. and 3 power levels(19c)TEC/TP/EMF/001/01.SEP2009 |  | (19a)17200(19b)51400(19c)12500 | (19a)17200(19b)17200 | For each additional frequency
20 | Shielding effectiveness | Planar Material | MRI tester | RF transparency sheet |  | 1 Freq. and 3 power levels |  | 34000 | 34000 | For each additional frequency
21 | Cal Kit calibration | Open, Short, Load | Calibration Kit | Cal Kit | 21(a) from 1 MHz to 3 GHz 21(b) 1 MHz to 8 GHz 21(c) 1 MHz to 18 GHz 21(d) 10 MHz to 50 GHz | 5 Frequncy points | Connector Type-N/7mm (50 ohm) | (21a)34939(21b)43395(21c)51851(21d)67744 | (21a)34939(21b)43395(21c)51851(21d)67744 | For each additional frequency
22 | Cal Kit calibration | Open, Short, Load | Calibration Kit |  | 22(a) from 1 MHz to 3 GHz 22(b) 1 MHz to 8 GHz 22(c) 1 MHz to 18 GHz 22(d) 10 MHz to 50 GHz | 5 Frequncy points | Connector Type-N/7mm (50 ohm) | (22a)50708(22b)58043(22c)67211(22d)84716 | (22a)50708(22b)58043(22c)67211(22d)84716 | For each additional frequency