## Sheet1
report_name | Raman Analysis of given sample
end_date | 23.12.2019
report_no | N19110969/D1.06/T-272
tested_for | Biomedical Instrumentation Metrology Section CSIR-National Physical Laboratory. Dr. K.S. Krishnan Marg, New Delhi-110012 Customer's Ref. No.: CTR Form, Dated: 25.11.19
description | Graphene Oxide, Identification no. Gl
env_conditions | Temperature: (23±2) °C Relative Humidity: (50±10)%
stds_used | The spectrometer was calibrated for wavelength using standard silicon and diamond samples.
tracability
procedure | The sample is irradiated by argon ion laser of 514.5 nm wavelength and the scattered radiation collected in the back-scattering geometry was analyzed using a triple monochromator coupled with charge coupled device (CCD).
tested_by | (JASVEER SINGH)
checked_by | (Dr. NITA DILAWAR SHARMA)
incharge | Dr. Sushil Kumar
issued_by | (Dr. SANJAY YADAV)

## Sheet2
result_table
result_desc | The Raman spectrum of the sample shows the normalized intensity with Raman shift. The peaks represent the various vibrational modes of the given sample.
testing_date | 23.12.2019
remarks | The data file is also being provided separately in electronic form.